## Pond-Wetland
Facility ID:
Location:
GPS Coordinates:
Inspector(s):
Date:
Time:
Stormwater Pond/Wetland Maintenance Inspection Checklist
Party Responsible for Maintenance:
Contact:
Phone Number:
E-mail:
Mailing Address:
Key Questions
Item |  |  | X | Comments
1. | Type of stormwater pond or wetland (check all that apply)
| a. | Permanent pool sized for full WQv
OR
Shallow wetland sized for full WQv
OR
Micropool
| b. | Extended detention
| c. | Ties into groundwater
| d. | Pond with some wetland plantings
| e. | Multiple pond system
2. | Type of wetland
| a. | Emergent
| b. | Forested
3. | Type of pretreatment facility
| a. | Sediment forebay
| b. | Grass filter strip
| c. | Other |  |  | Type of pretreatment facility:
A. | Contributing Drainage Area
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Excessive trash/debris |  | 0 | 1 | 2 | 3 | N/A
2. | Bare/exposed soil |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
4. | Excessive landscape waste/yard clippings |  | 0 | 1 | 2 | 3 | N/A
B. | Pretreatment
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Maintenance access to pretreatment facility |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris accumulation |  | 0 | 1 | 2 | 3 | N/A
3. | Excessive sediment accumulation |  | 0 | 1 | 2 | 3 | N/A | Sediment marker reading:
4. | Evidence of clogging |  | 0 | 1 | 2 | 3 | N/A
5. | Dead vegetation/exposed soil |  | 0 | 1 | 2 | 3 | N/A
6. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
C. | Inlets
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Inlets provide stable conveyance into facility |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris/sediment accumulation at inlet |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion at/around inlet |  | 0 | 1 | 2 | 3 | N/A
D. | Facility
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Maintenance access to facility |  | 0 | 1 | 2 | 3 | N/A
2. | Sediment accumulation |  | 0 | 1 | 2 | 3 | N/A
| a. | Bathymetric study recommended
3. | Abnormally high or low water levels |  | 0 | 1 | 2 | 3 | N/A | Cause:
4. | Evidence of pollution/hotspot runoff |  | 0 | 1 | 2 | 3 | N/A | Cause:
5. | Berm(s)/embankment(s) |  | 0 | 1 | 2 | 3 | N/A
| a. | Cracking, bulging or sloughing | 0 | 1 | 2 | 3 | N/A
| b. | Soft spots or sinkholes | 0 | 1 | 2 | 3 | N/A
| c. | Evidence of erosion | 0 | 1 | 2 | 3 | N/A
| d. | Evidence of animal burrows | 0 | 1 | 2 | 3 | N/A
| e. | Presence of woody vegetation | 0 | 1 | 2 | 3 | N/A
6. | Riser/outlet |  | 0 | 1 | 2 | 3 | N/A | Type of riser:
| a. | Maintenance access to riser | 0 | 1 | 2 | 3 | N/A
| b. | Structural condition of riser | 0 | 1 | 2 | 3 | N/A
| c. | Condition of joints | 0 | 1 | 2 | 3 | N/A
| d. | Trash/debris accumulation | 0 | 1 | 2 | 3 | N/A
7. | Low flow orifice |  | 0 | 1 | 2 | 3 | N/A
| a. | Trash/debris accumulation | 0 | 1 | 2 | 3 | N/A
| b. | Adjustable control valve accessible and operational | 0 | 1 | 2 | 3 | N/A
8. | Pond drain (underdrain) system |  | 0 | 1 | 2 | 3 | N/A
| a. | Broken
| b. | Clogged
| c. | Adjustable control valve accessible and operational | 0 | 1 | 2 | 3 | N/A
9. | Vegetation |  | 0 | 1 | 2 | 3 | N/A
| a. | Plant composition consistent with approved plans | 0 | 1 | 2 | 3 | N/A
| b. | Presence of invasive species/weeds | 0 | 1 | 2 | 3 | N/A
| c. | Dead vegetation/exposed soil | 0 | 1 | 2 | 3 | N/A
| d. | Reinforcement planting recommended
E. | Outlets
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Outlets provide stable conveyance out of facility |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris/sediment accumulation at outlet |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion at/around outlet |  | 0 | 1 | 2 | 3 | N/A
F. | Miscellaneous
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Complaints from local residents |  | 0 | 1 | 2 | 3 | N/A
2. | Mosquito proliferation |  | 0 | 1 | 2 | 3 | N/A
3. | Encroachment on facility or easement by buildings or other structures |  | 0 | 1 | 2 | 3 | N/A
4. | Adequate safety signage |  | 0 | 1 | 2 | 3 | N/A
Inspector's Summary:
Photographs
| Photo ID |  | Description
1.
2.
3.
4.
5.
6.
7.
8.
9.
10.
Sketch of Facility
(note problem areas)

## Infil-Filt-Bioret
Facility ID:
Location:
GPS Coordinates:
Inspector(s):
Date:
Time:
Infiltration/Filtration/Bioretention Practice Maintenance Inspection Checklist
Party Responsible for Maintenance:
Contact:
Phone Number:
E-mail:
Mailing Address:
Key Questions
Item |  |  | X | Comments
1. | Type of facility (check all that apply)
| a. | Infiltration
| b. | Filtration
| c. | Bioretention
| d. | Extended detention (storage for Cpv, Qp, Qf)
2. | Facility location
| a. | Surface
| b. | Underground
3. | Filtration Media
| a. | No filtration media (e.g. dry well)
| b. | Sand
| c. | Bioretention soil
| d. | Peat
| e. | Other
4. | Hydraulic configuration
| a. | On-line facility
| b. | Off-line facility
5. | Type of pretreatment facility
| a. | Sediment forebay (above ground)
| b. | Sedimentation chamber
| c. | Grass channel
| d. | Grass filter strip
| e. | Plunge pool
| f. | Stone diaphragm
| g. | Other |  |  | Type of pretreatment facility:
A. | Contributing Drainage Area
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Excessive trash/debris |  | 0 | 1 | 2 | 3 | N/A
2. | Bare/exposed soil |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
4. | Excessive landscape waste/yard clippings |  | 0 | 1 | 2 | 3 | N/A
B. | Pretreatment
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Maintenance access to pretreatment facility |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris/sediment |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of standing water
| a. | Ponding
| b. | Noticeable odors
| c. | Water stains
| d. | Presence of algae or floating aquatic vegetation
4. | Evidence of clogging |  | 0 | 1 | 2 | 3 | N/A
5. | Dead vegetation/exposed soil |  | 0 | 1 | 2 | 3 | N/A
6. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
C. | Inlets
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Inlets provide stable conveyance into facility |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris/sediment accumulation at inlet |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion at/around inlet |  | 0 | 1 | 2 | 3 | N/A
D. | Facility
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Maintenance access to facility |  | 0 | 1 | 2 | 3 | N/A
2. | Condition of structural components |  | 0 | 1 | 2 | 3 | N/A
3. | Condition of hydraulic control components |  | 0 | 1 | 2 | 3 | N/A
4. | Excessive trash/debris/sediment |  | 0 | 1 | 2 | 3 | N/A
5. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
6. | Evidence of oil/chemical accumulation |  | 0 | 1 | 2 | 3 | N/A
7. | Evidence of standing water:
| a. | Ponding
| b. | Noticeable odors
| c. | Water stains
| d. | Presence of algae or floating aquatic vegetation
8. | Underdrain system (if equipped) |  | 0 | 1 | 2 | 3 | N/A
| a. | Broken
| b. | Clogged
9. | Vegetation |  | 0 | 1 | 2 | 3 | N/A
| a. | Plant composition consistent with approved plans | 0 | 1 | 2 | 3 | N/A
| b. | Presence of invasive species/weeds | 0 | 1 | 2 | 3 | N/A
| c. | Dead vegetation/exposed soil | 0 | 1 | 2 | 3 | N/A
E. | Outlets
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Outlets provide stable conveyance out of facility |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris/sediment accumulation at inlet |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion at/around inlet |  | 0 | 1 | 2 | 3 | N/A
F. | Miscellaneous
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Complaints from local residents |  | 0 | 1 | 2 | 3 | N/A
2. | Mosquito proliferation |  | 0 | 1 | 2 | 3 | N/A
3. | Encroachment on facility or easement by buildings or other structures |  | 0 | 1 | 2 | 3 | N/A
Inspector's Summary:
Photographs
| Photo ID |  | Description
1.
2.
3.
4.
5.
6.
7.
8.
9.
10.
Sketch of Facility
(note problem areas)

## Open Channel
Facility ID:
Location:
GPS Coordinates:
Inspector(s):
Date:
Time:
Open Channel Maintenance Inspection Checklist
Party Responsible for Maintenance:
Contact:
Phone Number:
E-mail:
Mailing Address:
Key Questions
Item |  |  | X | Comments
1. | Type of open channel system
| a. | Dry swale
| b. | Wet swale
| c. | Other |  |  | Type of system:
2. | Type of pretreatment facility
| a. | Sediment forebay
| b. | Check dam
| c. | Grass filter strip
| d. | Stone diaphragm
| e. | Other |  |  | Type of pretreatment facility:
| f. | None
A. | Contributing Drainage Area
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Excessive trash/debris |  | 0 | 1 | 2 | 3 | N/A
2. | Bare/exposed soil |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
4. | Excessive landscape waste/yard clippings |  | 0 | 1 | 2 | 3 | N/A
B. | Pretreatment
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Maintenance access to pretreatment facility |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris/sediment |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of clogging |  | 0 | 1 | 2 | 3 | N/A
4. | Dead vegetation/exposed soil |  | 0 | 1 | 2 | 3 | N/A
5. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
C. | Inlets
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Inlets provide stable conveyance into system |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris/sediment accumulation at inlet |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion at/around inlet |  | 0 | 1 | 2 | 3 | N/A
D. | Facility
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Maintenance access to facility |  | 0 | 1 | 2 | 3 | N/A
2. | Sediment accumulation |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
4. | Evidence of oil/chemical accumulation |  | 0 | 1 | 2 | 3 | N/A
5. | Evidence of standing water:
| a. | Ponding
| b. | Noticeable odors
| c. | Water stains
| d. | Presence of algae or floating aquatic vegetation
6. | Underdrain system (if equipped) |  | 0 | 1 | 2 | 3 | N/A
| a. | Broken
| b. | Clogged
7. | Condition of check dams |  | 0 | 1 | 2 | 3 | N/A
8. | Vegetation |  | 0 | 1 | 2 | 3 | N/A
| a. | Plant composition consistent with approved plans | 0 | 1 | 2 | 3 | N/A
| b. | Presence of invasive species/weeds | 0 | 1 | 2 | 3 | N/A
| c. | Dead vegetation/exposed soil | 0 | 1 | 2 | 3 | N/A
E. | Outlets
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Outlets provide stable conveyance out of facility |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris/sediment accumulation at inlet |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion at/around inlet |  | 0 | 1 | 2 | 3 | N/A
F. | Miscellaneous
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Complaints from local residents |  | 0 | 1 | 2 | 3 | N/A
2. | Mosquito proliferation |  | 0 | 1 | 2 | 3 | N/A
3. | Encroachment on facility or easement by buildings or other structures |  | 0 | 1 | 2 | 3 | N/A
Inspector's Summary:
Photographs
| Photo ID |  | Description
1.
2.
3.
4.
5.
6.
7.
8.
9.
10.
Sketch of Facility
(note problem areas)

## Natural Area
Facility ID:
Location:
GPS Coordinates:
Inspector(s):
Date:
Time:
Natural Area Conservation and/or Restoration Credit - Maintenance Inspection Checklist
Party Responsible for Maintenance:
Contact:
Phone Number:
Email:
Key Questions
Item |  |  | X | Comments
1. | Type of natural area conservation
| a. | Forest
| b. | Prairie
| c. | Other
A. | Contributing Drainage Area
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Excessive trash/debris |  | 0 | 1 | 2 | 3 | N/A
2. | Bare/exposed soil |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
4. | Excessive landscape waste/yard clippings |  | 0 | 1 | 2 | 3 | N/A
5. | Impervious area added |  | 0 | 1 | 2 | 3 | N/A
6. | Evidence of excessive fertilization or yard chemicals |  | 0 | 1 | 2 | 3 | N/A
D. | Facility (Natural Area)
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Maintenance access to area |  | 0 | 1 | 2 | 3 | N/A
2. | Conservation area signs |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
4. | Evidence of oil/chemical accumulation |  | 0 | 1 | 2 | 3 | N/A
5. | Vegetation |  | 0 | 1 | 2 | 3 | N/A
| a. | Disturbance to natural vegetation (e.g. mowing, tree cutting) | 0 | 1 | 2 | 3 | N/A
| b. | Presence of invasive species/weeds | 0 | 1 | 2 | 3 | N/A
| c. | Dead vegetation/exposed soil | 0 | 1 | 2 | 3 | N/A
| d. | Restoration planting survival, if applicable | 0 | 1 | 2 | 3 | N/A
F. | Miscellaneous
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Complaints from local residents |  | 0 | 1 | 2 | 3 | N/A
2. | Mosquito proliferation |  | 0 | 1 | 2 | 3 | N/A
3. | Encroachment on facility or easement by buildings or other structures |  | 0 | 1 | 2 | 3 | N/A
Inspector's Summary:
Photographs
| Photo ID |  | Description
1.
2.
3.
4.
5.
6.
7.
8.
9.
10.
Sketch of Facility
(note problem areas)

## Sheetflow
Facility ID:
Location:
GPS Coordinates:
Inspector(s):
Date:
Time:
Sheetflow to Buffer Credit - Maintenance Inspection Checklist
Party Responsible for Maintenance:
Contact:
Phone Number:
Email:
Key Questions
Item |  |  | X | Comments
1. | Sheet flow drainage area
| a. | All pervious area
| b. | Includes impervious areas
2. | Buffer protects:
| a. | Stream
| b. | Lake or pond
| c. | Wetland
| d. | Other
3 | Buffer's Natural Condition
| a. | Forest
| b. | Prairie/Grassland
| c. | Other
4. | Buffer meets width requirement |  |  |  | Required buffer width:
A. | Contributing Drainage Area
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Excessive trash/debris |  | 0 | 1 | 2 | 3 | N/A
2. | Bare/exposed soil |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
4. | Excessive landscape waste/grass clippings |  | 0 | 1 | 2 | 3 | N/A
5. | Impervious area added |  | 0 | 1 | 2 | 3 | N/A
6. | Evidence of excessive fertilization of yards or yard chemical use |  | 0 | 1 | 2 | 3 | N/A
C. | Inflow Points
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Runoff enters buffer as sheet flow |  | 0 | 1 | 2 | 3 | N/A
2. | Level spreader functional, if applicable |  | 0 | 1 | 2 | 3 | N/A
3. | Excessive trash/debris/sediment accumulation at inflow points |  | 0 | 1 | 2 | 3 | N/A
4. | Evidence of erosion at/around inflow points |  | 0 | 1 | 2 | 3 | N/A
D. | Facility (Buffer Condition)
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Buffer/conservation area signs |  | 0 | 1 | 2 | 3 | N/A
2. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
3. | Evidence of oil/chemical accumulation |  | 0 | 1 | 2 | 3 | N/A
4. | Vegetation |  | 0 | 1 | 2 | 3 | N/A
| a. | Disturbance to natural vegetation (e.g. mowing, tree cutting) | 0 | 1 | 2 | 3 | N/A
| b. | Presence of invasive species/weeds | 0 | 1 | 2 | 3 | N/A
| c. | Dead vegetation/exposed soil | 0 | 1 | 2 | 3 | N/A
| d. | Survival of restoration plantings, if applicable | 0 | 1 | 2 | 3 | N/A
5. | Excessive trash/debris/sediment accumulation in buffer |  | 0 | 1 | 2 | 3 | N/A
F. | Miscellaneous
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Complaints from local residents |  | 0 | 1 | 2 | 3 | N/A
2. | Mosquito proliferation |  | 0 | 1 | 2 | 3 | N/A
3. | Encroachment on facility or easement by buildings or other structures |  | 0 | 1 | 2 | 3 | N/A
Inspector's Summary:
Photographs
| Photo ID |  | Description
1.
2.
3.
4.
5.
6.
7.
8.
9.
10.
Sketch of Facility
(note problem areas)

## IC Disconnection
Facility ID:
Location:
GPS Coordinates:
Inspector(s):
Date:
Time:
Impervious Area Disconnection Credit - Maintenance Inspection Checklist
Party Responsible for Maintenance:
Contact:
Phone Number:
Email:
Key Questions
Item |  |  | X | Comments
1. | Type of impervious area disconnected
| a. | Rooftop
| b. | Parking
| c. | Other
2. | Compensatory device type (include if pervious area flow path is less than required minimum length); see separate plan review checklist for device
| a. | Dry well
| b. | French drain
| c. | Raingarden
| d. | Other |  |  | Other device:
A. | Contributing Drainage Area (Disconnected Impervious Area)
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Excessive trash/debris |  | 0 | 1 | 2 | 3 | N/A
2. | Excessive landscape waste/yard clippings |  | 0 | 1 | 2 | 3 | N/A
C. | Inflow Points
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Inflow points (e.g. downspouts, curb cuts, edge of pavement, level spreader) provide stable conveyance into facility |  | 0 | 1 | 2 | 3 | N/A
2. | Runoff enters pervious area as sheet flow |  | 0 | 1 | 2 | 3 | N/A
3. | Level spreader, if applicable |  | 0 | 1 | 2 | 3 | N/A
4. | Excessive trash/debris/sediment accumulation at inflow points |  | 0 | 1 | 2 | 3 | N/A
5. | Evidence of erosion at/around inflow points |  | 0 | 1 | 2 | 3 | N/A
D. | Facility (Pervious Area Receiving Runoff)
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Downspouts or surface impervious area drains to the receiving pervious area |  | 0 | 1 | 2 | 3 | N/A
2. | Receiving pervious areas retain dimensions as shown on plans and are in good condition |  | 0 | 1 | 2 | 3 | N/A
3. | Sediment accumulation |  | 0 | 1 | 2 | 3 | N/A
4. | Evidence of standing water: |  | 0 | 1 | 2 | 3 | N/A
| a. | Ponding
| b. | Noticeable odors
| c. | Water stains
| d. | Presence of algae or floating aquatic vegetation
5. | Compensatory practice (if required) |  | 0 | 1 | 2 | 3 | N/A
6. | Evidence of erosion |  | 0 | 1 | 2 | 3 | N/A
7 | Evidence of oil/chemical accumulation |  | 0 | 1 | 2 | 3 | N/A
8. | Vegetation |  | 0 | 1 | 2 | 3 | N/A
| a. | Plant composition consistent with approved plans | 0 | 1 | 2 | 3 | N/A
| b. | Presence of invasive species/weeds | 0 | 1 | 2 | 3 | N/A
| c. | Dead vegetation/exposed soil | 0 | 1 | 2 | 3 | N/A
F. | Miscellaneous
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [7 empty] | Comments
1. | Complaints from local residents |  | 0 | 1 | 2 | 3 | N/A
2. | Mosquito proliferation |  | 0 | 1 | 2 | 3 | N/A
3. | Encroachment on pervious area or easement by buildings or other structures |  | 0 | 1 | 2 | 3 | N/A
Inspector's Summary:
Photographs
| Photo ID |  | Description
1.
2.
3.
4.
5.
6.
7.
8.
9.
10.
Sketch of Facility
(note problem areas)

## Grass Channel
Facility ID:
Location:
GPS Coordinates:
Inspector(s):
Date:
Time:
Grass Channel Credit - Maintenance Inspection Checklist
Party Responsible for Maintenance:
Contact:
Phone Number:
Email:
A. | Contributing Drainage Area
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [6 empty] | Comments
1. | Excessive trash/debris | 0 | 1 | 2 | 3 | N/A
2. | Bare/exposed soil | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion | 0 | 1 | 2 | 3 | N/A
4. | Excessive landscape waste/yard clippings | 0 | 1 | 2 | 3 | N/A
5. | Impervious area added | 0 | 1 | 2 | 3 | N/A
C. | Inflow Points
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [6 empty] | Comments
1. | Inflow points (e.g. downspouts, curb cuts, edge of pavement) provide stable conveyance into the channel | 0 | 1 | 2 | 3 | N/A
2. | Excessive trash/debris/sediment accumulation at inflow points | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion at/around inflow points | 0 | 1 | 2 | 3 | N/A
D. | Facility (Grass Channel)
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [6 empty] | Comments
1. | Channel remains vegetated; no concrete, rip-rap, or other lining has been added | 0 | 1 | 2 | 3 | N/A
2. | Grade ensures positive flow | 0 | 1 | 2 | 3 | N/A
3. | Evidence of erosion | 0 | 1 | 2 | 3 | N/A
4. | Sediment accumulation | 0 | 1 | 2 | 3 | N/A
5. | Excessive trash/debris accumulation | 0 | 1 | 2 | 3 | N/A
6. | Evidence of oil/chemical accumulation | 0 | 1 | 2 | 3 | N/A
7. | Vegetation condition | 0 | 1 | 2 | 3 | N/A
F. | Miscellaneous
0 = Good condition. Well maintained, no action required.
1 = Moderate condition. Adequately maintained, routine maintenance needed.
2 = Degraded condition. Poorly maintained, routine maintenance and repair needed.
3 = Serious condition. Immediate need for repair or replacement.
Inspected
Not Inspected
Item | [6 empty] | Comments
1. | Complaints from local residents | 0 | 1 | 2 | 3 | N/A
2. | Mosquito breeding | 0 | 1 | 2 | 3 | N/A
3. | Encroachments (e.g. filling, fences, obstructions, etc.) | 0 | 1 | 2 | 3 | N/A
Inspector's Summary:
Photographs
| Photo ID | Description
1.
2.
3.
4.
5.
6.
7.
8.
9.
10.
Sketch of Facility
(note problem areas)